## Slide 1
Part D.
The Whole Room Patrol Tour
IP Surveillance Camera
Application Guide

## Slide 2: The Whole Room Patrol Tour
Explanation:
The camera moves automatically from one pre-designed position to another along a certain route that is self-defined as required.
Benefits:
The whole room can be scanned in the specified path, so that you can have a wide-range monitoring of the whole space.
1
2
4
3

## Slide 3: Agenda
Preparation Work
Designing the Preset Positions
Self-defining the Patrol Tour

## Slide 4
Preparation Work
Before
the Preset Position Setting

## Slide 5
Log in to the Web-based Management Interface
S
key in the IP address of the camera
* For more detailed information about how to log in to the web-based
management interface, please refer to the Quick Installation Guide.
Preparation Work

## Slide 6
How to design
the Preset Positions
Step 1: Access the advanced setting menu——Ⅰ
Step 2: Access the advanced setting menu——Ⅱ
Step 3: Set the preset position and save it
Here is another method to quickly set the preset positions. If you are interested in it, please check Appendix –I (click here)

## Slide 7
Step 1: Access the advanced setting menu——Ⅰ
Click Setting on the left side of the main menu to access the advanced
setting menu.
Click Setting
Design the Preset Positions

## Slide 8
Step 2: Access the advanced setting menu——Ⅱ
Access the Preset position Menu via operating as follows:
Setting Area
List Area
Design the Preset Positions
1
2
3

## Slide 9
Step 3: Set the preset position and save it
Click Control Panel and adjust the position of the camera as required in the control panel that pops up.
Type in the preset position name in the Preset Pos. Name text box.
Click Set to save the current position as a preset position with the name that is typed in the text box below.
Additional Comments
You can also aim the camera to a preset position, so the acquired position can be achieved more conveniently and efficiently.
Design the Preset Positions
1
2
3
1
2
3
!
!

## Slide 10
How to Self-defining
the Patrol Tour
Step 1: Access the advanced setting menu
Step 2: Set Patrol Tour
Step 3: Start the Patrol Tour——Method 1
Step 4: Start the Patrol Tour——Method 2

## Slide 11
Step 1: Access the advanced setting menu
The steps to access the Patrol Menu are similar with the previous case as described above, so you can refer to the previous description.
Self-defining The Patrol Tour
1
2
3

## Slide 12
Step 2: Set Patrol Tour
Choose one of eight orders, and then select one preset position.
Define the time you with the camera stop at this position in seconds.
Save the tour position
Repeat the above steps to set other orders.
Save the tour that you have set already.
After setting the orders, please define the cycle time interval between two continual patrol tours in hours.
* For detailed function specification, please check Appendix-II (click here)
Self-defining The Patrol Tour
1
2
3
4
5
6

## Slide 13
Step 3: Start the Patrol Tour——Method 1
Please check Setting -> Advanced -> Patrol and choose whichever tour you want to start.
Click to Start Tour
When the tour starts, then Stop button will appear. If you want to stop the tour, please click it.
Self-defining The Patrol Tour
1
2
3
4

## Slide 14
Step 4: Start the Patrol Tour——Method 2
Choose the Patrol Tour and Start it via the Main Web Interface
Click Set to
choose a tour
Click Go to
start the tour
* If you want to stop the patrol tour, please refer to the description in the previous step.
Self-defining The Patrol Tour
1
2

## Slide 16
Appendix-Ⅰ
Quick Setup of
the Preset Positions
Step 1: Design the position of the camera
Step 2: Save the current position as the preset position
Step 3: Done!

## Slide 17
Step 1: Design the position of the camera
Adjust the direction of the camera via clicking the different direction
buttons to move the camera according to your needs.
Direction Buttons
Quick Setup of the Preset Positions

## Slide 18
Step 2: Save the current position as the preset position
When you have adjusted the position of the camera as acquired, please
click Set button to save the current position as a preset position.
Click Set
* Up to 32 positions can be set with the default name “Preset”+ “serial number”, such as Preset1
Quick Setup of the Preset Positions

## Slide 19
Step 3: Done! The setting is completed.
Click OK to finish the setting of one preset position. If you want to add more preset positions, please repeat steps as described before.
Click OK to finish the operation
Quick Setup of the Preset Positions

## Slide 20
Go to the preset position conveniently
You can aim the camera to the preset position quickly via just clicking the Go button. The details are described as follows:
Step 1: Click
Step 2: A list pops up, then choose one preset position, and click
Quick Setup of the Preset Positions
Back

## Slide 21
Appendix-Ⅱ
Detailed
Function Specification
of
Different Buttons

## Slide 22
Function Specification of different buttons
Move the camera to the directly head position.
Choose one preset position and click the button, then the camera will be set to that direction. As a result, users can aim the camera to the desired position more conveniently and efficiently.
The control panel will appear, then you can move the camera to the appropriate position by clicking the direction buttons.
Delete all the existing preset positions
Save the current position as a preset position
Clear the words filled in the Preset Pos. Name text box below.
Delete the according preset position
Back
Appendix-Ⅱ